CERTIFICATE OF ANALYSIS

| PRODUCT NAME: | - POLY ALUMINIUM CHLORIDE FOR DRINKING WATER TRERTMENT(SOLID) ) | INSPECTION STANDARD | GB/15892-2009 |
| --- | --- | --- | --- |
| TESTING ITEM |  | INDEX | RESULT |
| Aluminum Oxide AL2O3Content |  | 29.0%MIN | 30.5% |
| Basicity |  | 40.0%-90.0% | 80% |
| PH value 1% aqueous solution |  | 3.5-5.0 | 4 |
| Water insoluble matter |  | 0.6%MAX | 0.5% |
| Fe Content |  | ----- |  |
| As Content |  | 0.0002%MAX | 0.0001% |
| Cd Content |  | 0.0002%MAX | 0.0001% |
| Cr6+ Content |  | 0.0005%MAX | 0.0001% |
| Pb Content |  | 0.001%MAX | 0.001% |
| Hg Content |  | 0.00001%MAX | 0.00001% |

- QUALITY: WE CAN ASSURE THE POLY  ALUMINIUM CHLORIDE FOR DRINKING WATER TRERTMENT(SOLID), TECH. GRADE HAS REACHED A VERYHIGH QUALITY AFTER USING GB/15892-2009   TESTING METHOD.